GridSenpAI
Engineering Ontology, PDF Corpus Findings,
System Alignment, and Recommendations Report

Prepared from full review of the uploaded engineering corpus and current GridSenpAI engineering artifacts

| Date | 2026-03-08 |
| --- | --- |
| Scope | Ontology, stakeholder usefulness analysis, deliverable requirements, current-system coverage, and recommended engineering/document updates |
| Primary source basis | 23 PDFs from the uploaded engineering corpus totaling 1,681 pages, plus GridSenpAI SRS, RTM, DMD, DSD/DCD, and TPVD |
| Purpose | Define what GridSenpAI must understand and produce to be useful to large-load engineers, transmission planners, and interconnection reviewers |

Executive Summary The engineering corpus confirms that GridSenpAI is not only a facility-document parser. It must act as a governed translation layer between two engineering worlds: (1) large-load / data-center facility design and operating assumptions, and (2) utility / ISO / transmission-planning interconnection requirements. To be useful to primary hands-on users, the system must produce planner-ready outputs that clearly separate confirmed values, evidence-backed inferences, assumptions, conflicts, and missing data, while also preserving POI, substation topology, protection, SCADA, telemetry, and interconnection requirements as first-class concepts.

# 1. Source Basis and Review Method

This report is based on a full text-layer review of the uploaded PDF corpus and a design review of the current GridSenpAI engineering artifacts and prototype service layout. The PDF corpus was more valuable than the software artifacts for understanding what the real users will expect in practice.

## 1.1 Sources Reviewed

Engineering corpus: 23 PDFs totaling 1,681 pages extracted from test_documents.zip. The corpus includes interconnection studies, utility/ISO manuals, protection references, substation design guides, and process/application materials.

GridSenpAI Software Requirements Specification (SRS), including governed intake, canonical state, traceability, and export requirements.

GridSenpAI Requirements Traceability Matrix (RTM).

GridSenpAI Data Model Design (DMD).

GridSenpAI Detailed System Design / Detailed Component Design (DSD/DCD).

GridSenpAI Test Plan & Verification Design (TPVD).

Prototype service implementations for ingestion, extraction, interview, normalization, retrieval, translation, scenario generation, and export.

## 1.2 Corpus Statistics

The analyzed PDF corpus includes the following files and page counts.

| PDF artifact | Pages | Primary document family |
| --- | --- | --- |
| 047.pdf | 60 | Protection / substation reference |
| 55999_168_1550025.pdf | 15 | Interconnection/process material |
| 6-CNP-Intertie-Substaiton-Design-Mar-3-4.pdf | 117 | Interconnection/process material |
| AE1-114_TC1_PH3_fac.pdf | 22 | Study / facilities report |
| AF1-233_TC1_PH3_fac (1).pdf | 12 | Study / facilities report |
| AF1-233_TC1_PH3_fac.pdf | 12 | Study / facilities report |
| AF2-041_TC1_PH3_fac.pdf | 16 | Study / facilities report |
| AF2-143_TC1_PH3_fac.pdf | 11 | Study / facilities report |
| AF2-225_TC1_PH3_fac.pdf | 9 | Study / facilities report |
| AG1-354_fac.pdf | 11 | Study / facilities report |
| Attachment_I_-_AC2-075_Interconnection_Study_Report.pdf | 50 | Study / facilities report |
| CHGE-Interconnection-Guidelines.pdf | 72 | Utility/ISO guidance |
| Distributed_Generation_Interconnection_Handbook.pdf | 78 | Utility/ISO guidance |
| FAC-001 Transmission to Transmission Interconnection Guide June 2021.pdf | 41 | Utility/ISO guidance |
| Substation-Relay-Protection-Overview-David-Maehl.pdf | 42 | Protection / substation reference |
| UEP_Bulletin_1724E-300.pdf | 764 | Protection / substation reference |
| ab2067_imp.pdf | 34 | Study / facilities report |
| ab2085_imp.pdf | 7 | Study / facilities report |
| af2235_imp.pdf | 21 | Study / facilities report |
| dg-interconnections-application-level_2_3_4_11524.pdf | 11 | Interconnection/process material |
| distribution-interconnection-handbook.pdf | 60 | Utility/ISO guidance |
| m14c-redline.pdf | 104 | Utility/ISO guidance |
| m14g.pdf | 112 | Utility/ISO guidance |

## 1.3 Method Note and Important Limitation

The PDFs were reviewed in full across all pages through the available text layer. This was sufficient to identify the recurring engineering entities, terminology, operating constraints, deliverable expectations, and stakeholder concerns present in the corpus. However, the corpus also contains drawing-heavy and layout-heavy pages. Those pages reinforce the need for OCR and layout-aware parsing in the eventual production system, especially for scanned one-lines, title blocks, and engineering tables.

# 2. Findings from the PDF Corpus

The dominant finding is that the engineering corpus is heavily weighted toward the grid-side and interconnection-side worldview. It contains many documents that describe what utilities, ISOs, and transmission planners require or study, but it contains comparatively fewer rich data-center-side equipment packages. This is crucial because it changes how useful GridSenpAI must be.

## 2.1 The true problem GridSenpAI must solve

The real engineering translation problem is:

facility design facts + interconnection requirements + planner modeling rules → planner-ready modeling packet

The current engineering artifacts already point in this direction, but the PDF corpus makes it explicit. GridSenpAI is not simply a parser that reads one-line diagrams and emits parameters. It must mediate between facility-side language and grid-side review requirements.

## 2.2 Recurring concepts found across the corpus

Point of interconnection (POI), nominal voltage level, substation naming, transmission line/bus references, and interconnection ownership/responsibility splits.

Substation topology, especially breaker-and-half, ring-bus, tie breakers, bus sections, line terminals, CT/PT arrangements, and switching additions.

Protection and controls, including relay schemes, breaker failure, transfer trip, telecom/fiber dependencies, SCADA requirements, and witness/commissioning testing.

Metering and telemetry requirements, including revenue metering, interval data, MW/MVAR telemetry, and breaker status indications.

Reactive, voltage, and dynamic expectations such as power-factor obligations, ride-through, reactive capability, and study assumptions.

Study, facilities, and process documentation that make clear which data elements transmission planners actually consume and which missing items create review friction.

## 2.3 What the corpus under-represents

Detailed hyperscale data-center one-lines with rich internal distribution hierarchy.

UPS vendor datasheets, backup-generator plant packages, low-voltage switchgear schedules, and staged server-hall energization documents.

Cooling-system schedules and mechanical plant equipment packages specific to large-load facilities.

This means the corpus is excellent for learning what grid-side reviewers ask for, but incomplete for learning everything LLC engineers will upload. The test strategy and retrieval corpus will need to account for that imbalance.

## 2.4 Why OCR and layout-aware extraction will matter

Many relevant engineering facts appear in tables, drawings, title blocks, callouts, and single-line diagram annotations rather than narrative paragraphs.

Native PDF text extraction will be useful but insufficient for scanned drawings and layout-heavy plan sheets.

The deterministic-first path should be: native text extraction → OCR/layout extraction for image pages → deterministic engineering parsing → governed model assistance only for ambiguity resolution.

# 3. Formal GridSenpAI Ontology

The ontology below defines the canonical engineering concepts GridSenpAI must understand if it is to produce useful planner-facing outputs. Each ontology domain should ultimately map into the canonical input schema and become traceable through normalization, retrieval, translation, scenario generation, and export.

| Ontology domain | Core entities | Representative attributes / outputs |
| --- | --- | --- |
| Project and Interconnection Context | Project, InterconnectionRequest, Utility, ISO/RTO, TransmissionOwner, StudyType, StudyRevision | queue position, status, study stage, responsibilities split, project identifiers |
| Point of Interconnection | POI, Substation, TransmissionLine, BusSection, Terminal | poi_voltage_kv, substation_name, line_name, terminal configuration, transmission owner |
| Substation Topology | Breaker, Bus, SwitchingScheme, TieBreaker, LineTerminal, CT, PT | breaker_count, scheme_type, bus sections, switching additions, metering arrangements |
| Facility Electrical System | ServiceTransformer, MVSwitchgear, LVSwitchgear, Feeder, DistributionBus | rating_mva, impedance, tap range, bus/feeder names, service voltages |
| Load Composition | ITLoad, MechanicalLoad, AuxiliaryLoad, CriticalProcessLoad, StagedLoadBlock | peak_mw, fraction_of_total, criticality, phase/buildout schedule |
| UPS and Inverter Domain | UPSSystem, UPSModule, Rectifier, Inverter, StaticTransferSwitch, BatteryString | topology, module_rating_kw, battery autonomy, bypass mode, redundancy pattern |
| Backup / Onsite Power | GeneratorPlant, GeneratorUnit, FuelSystem | generator_count, generator_rating_mw, dispatch mode, standby behavior, black-start/operating notes |
| Mechanical and Cooling Plant | Chiller, CoolingTower, Pump, CRAH, CRAC, VFD | motor_rating_kw, control mode, cooling load contribution, VFD presence |
| Protection, Controls, and Communications | RelayPanel, ProtectionScheme, BreakerFailureScheme, TransferTrip, DTT, FiberComm, SCADAInterface, ControlHouse | relay type, scheme, breaker status points, telecom dependencies, witness test requirements |
| Metering and Telemetry | RevenueMeter, IntervalMeter, MeteringCT, MeteringPT, TelemetryChannel | MW, MVAR, kWh, breaker status, interval reporting, telemetry endpoints |
| Operating and Performance Characteristics | ReactiveCapability, PowerFactorRequirement, RideThroughRequirement, RampRate, StartupSequence, EnergizationSequence | pf_min, pf_max, reactive bounds, voltage/frequency ride-through, ramp limits |
| Evidence and Governance Objects | SourceArtifact, SourceAnchor, ExtractedEntity, EvidenceSnippet, ConflictRecord, AssumptionRecord, FollowUpQuestion, OutputParameter | provenance_type, confidence, source locations, review status |

# 4. What GridSenpAI Deliverables Must Include

If the system is to be adopted by the primary hands-on users, the outputs must save review time, reduce ambiguity, and package data in the form planners already need. The deliverables must therefore go beyond a bare JSON export.

| Required deliverable component | Why it matters to users |
| --- | --- |
| Machine-readable canonical input packet | Normalized facility/interconnection state with field status, provenance, source anchors, conflicts, and missing-data markers. |
| Planner-ready modeling output packet | Steady-state parameters, ZIP model, dynamic/behavioral flags, ramping information, and scenario variants in a schema-valid form. |
| Technical intake report | Human-readable report showing confirmed values, evidence-backed inferences, assumptions, conflicts, missing items, and targeted follow-up requests. |
| Interconnection context summary | POI, substation topology, breaker/control changes, telemetry/metering requirements, and planner-relevant utility requirements. |
| Evidence registry | Stable snippet IDs or source anchors that let a planner or engineer verify why each important parameter exists. |
| Conflict and clarification package | Explicit review-required items with suggested source documents or stakeholder questions. |
| Change-log / rerun comparison | Parameter deltas between versions so users can quickly see what changed when new information arrives. |

# 5. Current System Design Assessment

The current service architecture is directionally strong. The staged pipeline, canonical state concept, provenance model, scenario generation, export packaging, and reproducibility controls all move the system in the right direction. However, the corpus review shows several places where the current design is still too prototype-oriented to create obvious value at the ground level.

| Service | Coverage status | Assessment |
| --- | --- | --- |
| Ingestion service | Mostly covered | Artifact discovery, metadata capture, checksums, MIME/page estimation, and classification are already useful prototype behaviors. |
| Extraction service | Partially covered | Real regex/heuristic extraction exists, but depth is still shallow for utility/interconnection structures, tables, drawings, and richer entity relationships. |
| Interview service | Partially covered | Structured intake path exists, but question coverage and ontology alignment remain narrow relative to the real review process. |
| Normalization service | Needs major strengthening | Canonical field resolution exists, but the canonical model is still too small and does not yet fully represent interconnection, protection, telemetry, and planner-facing review states. |
| Retrieval service | Needs major strengthening | Basic local-corpus retrieval exists, but the knowledge architecture must distinguish facility equipment, interconnection requirements, and planner modeling references. |
| Translation service | Partially covered | Traceability and confidence mechanics are strong, but the deterministic engineering rule base still needs deeper domain logic tied to the ontology. |
| Scenario service | Mostly structurally covered | Scenario mechanics are present, but useful scenarios depend on stronger normalized inputs and translation rules. |
| Export service | Mostly covered structurally | Exports and manifests exist, but the real value depends on the completeness and usefulness of the upstream information model. |

# 6. Design Changes Needed for Stakeholder Usefulness

The system will only be used if the primary hands-on stakeholders perceive that it reduces their workload and presents the right engineering facts without hiding uncertainty. The following changes are recommended to make GridSenpAI practically useful rather than merely architecturally interesting.

Expand the canonical input model so POI, substation topology, protection/control, telemetry, metering, and utility-required facilities are first-class sections rather than incidental extracted attributes.

Treat interconnection context as equal in importance to facility equipment. The normalized state should represent not only what the LLC has built, but also what the grid-side reviewers require or condition.

Split retrieval into at least three disciplined corpora: facility equipment knowledge, utility/interconnection requirements, and planner/modeling guidance.

Add a dedicated OCR and layout-aware preprocessing path for scanned PDFs, drawings, title blocks, and engineering tables before deterministic extraction rules run.

Strengthen extraction to support table-oriented and drawing-oriented entities, including breaker schemes, CT/PT arrangements, relay/control elements, SCADA/telemetry points, and metering requirements.

Strengthen normalization so it can merge document facts, intake responses, and utility requirements into one governed canonical state with clear field status values: confirmed, inferred, assumed, conflicting, missing, and review-required.

Grow the deterministic translation rule base so it maps facility-side concepts into planner-side load composition, ZIP behavior, dynamic flags, and scenario parameters using explicit rules and evidence thresholds.

Enhance the planner-facing report so it clearly explains why each important value exists, what source supports it, what still needs confirmation, and what interconnection requirements could materially affect study assumptions.

# 7. What GridSenpAI Already Covers vs. What Still Needs Implementation

| Already covered or directionally established | Still needed to reach ground-level usefulness |
| --- | --- |
| Pipeline decomposition and orchestration by stage Canonical-state and prompt-governance direction in the architecture Schema-first design posture Per-parameter provenance and confidence structures Scenario generation framework Export packaging and manifest generation Run reproducibility, versioning, and audit-minded design Structured intake as a first-class path in the system concept | Ontology-complete canonical input schema aligned to real interconnection work OCR/layout processing for drawings and scan-heavy PDFs Extraction logic for planner-relevant interconnection and protection artifacts Normalization logic for review-state management and conflict merging Three-family retrieval architecture and evidence discipline Deterministic rule library rich enough to derive useful planner outputs Planner-facing deliverables that summarize POI, controls, telemetry, and unresolved review items A more balanced test corpus that includes both LLC-side facility packages and utility-side review requirements |

# 8. Engineering Documents That Need Update

| Artifact | Recommended update focus |
| --- | --- |
| SRS | Expand functional scope language so interconnection context, substation topology, protection/control, telemetry, and metering are explicitly called out as first-class system concerns. Tighten acceptance criteria so planner-facing usefulness is measured directly. |
| RTM | Add or refine requirements and test traceability for POI extraction, topology extraction, protection/control extraction, telemetry/metering extraction, OCR/layout processing, and stakeholder-facing review package outputs. |
| DMD | Add formal data entities and relationships for POI, substation topology, relay/control systems, telemetry/metering, and utility-required/customer-required facilities. Align the ontology with physical/logical models. |
| DSD/DCD | Update service responsibilities and data contracts to include OCR/layout preprocessing, richer extraction categories, ontology-aligned normalization, three-family retrieval, and stronger planner-facing report composition. |
| TPVD | Add verification cases for scan-heavy OCR handling, topology extraction, protection/control extraction, telemetry/metering extraction, and planner-review usefulness. Expand test-data strategy to include LLC-side facility packages. |
| Canonical schemas | The canonical input schema in particular needs a more complete ontology-aligned structure. The output schema should be reviewed to ensure it can expose planner-relevant context and review-state distinctions clearly. |

# 9. Recommended Near-Term Implementation Order

Finalize the ontology-aligned canonical input schema.

Upgrade normalization around that schema so it becomes the system’s real source of truth.

Add OCR/layout-aware preprocessing and enrich extraction around tables, diagrams, and planner-relevant entities.

Refactor retrieval into explicit knowledge families and tighten evidence linkage.

Expand deterministic translation rules using the ontology and planner deliverable requirements.

Then refine scenario and export outputs around the stronger upstream state.

# 10. Closing Assessment

GridSenpAI already has the architectural beginnings of a useful engineering system. What it lacks is not broad direction, but domain completeness and practical grounding. The PDF corpus shows that the system will only deliver clear value when it handles interconnection and protection realities as well as it handles facility-side electrical information. If the ontology and design changes in this report are implemented, GridSenpAI can move from a prototype translation pipeline to a tool that primary users would recognize as genuinely helpful in real engineering workflows.

# Appendix A. Analyzed PDF Corpus

The following corpus informed the findings in this report.

| PDF file name | Pages |
| --- | --- |
| 047.pdf | 60 |
| 55999_168_1550025.pdf | 15 |
| 6-CNP-Intertie-Substaiton-Design-Mar-3-4.pdf | 117 |
| AE1-114_TC1_PH3_fac.pdf | 22 |
| AF1-233_TC1_PH3_fac (1).pdf | 12 |
| AF1-233_TC1_PH3_fac.pdf | 12 |
| AF2-041_TC1_PH3_fac.pdf | 16 |
| AF2-143_TC1_PH3_fac.pdf | 11 |
| AF2-225_TC1_PH3_fac.pdf | 9 |
| AG1-354_fac.pdf | 11 |
| Attachment_I_-_AC2-075_Interconnection_Study_Report.pdf | 50 |
| CHGE-Interconnection-Guidelines.pdf | 72 |
| Distributed_Generation_Interconnection_Handbook.pdf | 78 |
| FAC-001 Transmission to Transmission Interconnection Guide June 2021.pdf | 41 |
| Substation-Relay-Protection-Overview-David-Maehl.pdf | 42 |
| UEP_Bulletin_1724E-300.pdf | 764 |
| ab2067_imp.pdf | 34 |
| ab2085_imp.pdf | 7 |
| af2235_imp.pdf | 21 |
| dg-interconnections-application-level_2_3_4_11524.pdf | 11 |
| distribution-interconnection-handbook.pdf | 60 |
| m14c-redline.pdf | 104 |
| m14g.pdf | 112 |