GridSenpAI Data Translation Framework

Transmission-planning model generation framework aligned to the current architecture

# 1. Purpose

This document describes the GridSenpAI data translation framework used to convert engineering artifacts into transmission-planning-ready model parameters. It is aligned to the current SRS, DSD/DCD, and DMD artifacts.

# 2. Primary Inputs

Point of interconnection information including service voltage and configuration.

Facility one-line diagrams and major equipment schedules.

Load composition and operating policy information.

UPS specifications, generator specifications, and transformer characteristics.

Protection settings, ride-through information, and power-quality data.

Commissioning and energization constraints where available.

# 3. Knowledge Sources

Vendor equipment documentation.

Transmission-planning and modeling guidance (for example IEEE, CIGRE, ISO references).

Simulation-tool documentation for planning environments.

Internal parameter dictionaries and mapping rules.

Optional empirical behavior data where the project scope permits.

# 4. Translation Pipeline

Document Ingestion Service stores and indexes engineering artifacts.

Parsing & Entity Extraction Service identifies equipment, ratings, settings, and topology cues.

Normalization & Schema Validation Service converts extracted data into canonical structured inputs.

Knowledge Retrieval (RAG) Service retrieves modeling references and evidence snippets (optional implementation: IBM Watson Discovery).

Parameter Translation Service derives planner-ready parameters using deterministic logic and, where appropriate, model-assisted processing (for example watsonx.ai).

Scenario Generation Service produces Typical, Conservative, and Best-Case scenario variants.

Output Packaging & Export Service creates structured output artifacts and human-readable reports.

Run Management & Versioning Service preserves version labels, lineage, and rerun diffs.

# 5. Governance and Traceability

Where model-assisted processing is used, governed prompt construction and canonical state controls must preserve reproducibility.

Every generated parameter must be traceable to evidence, a deterministic rule, or an explicit assumption.

Scenario outputs must retain provenance and rationale.

Lineage metadata must be sufficient to reconstruct a run and its export package.

# 6. Output Families

Steady-state model parameters.

ZIP load model coefficients.

Dynamic response and recovery parameters.

Load composition fractions and behavioral indicators.

Ramping and staging characteristics.

Backup generator interaction flags.

Power-quality screening outputs.

Confidence-tagged and provenance-linked scenario parameter sets.

# 7. Minimum and Ideal Inputs

| Element | Description |
| --- | --- |
| Minimum | One-line diagram, MW schedule, basic load composition, UPS topology, and generator ratings. |
| Ideal | Detailed equipment models, relay settings, operating policies, commissioning data, and validated facility behavior information. |

# 8. Expected Deliverables

Study-ready interconnection modeling packet.

Equivalent facility model parameters for transmission-planning simulations.

Scenario-based parameter sets with confidence designations.

Automated missing-information and follow-up request generation.

Versioned export package with reproducible run context.

# 9. Implementation Notes

Retrieval and search services may be implemented with enterprise document-search platforms (for example IBM Watson Discovery).

Model-assisted translation may be implemented with foundation-model services (for example watsonx.ai).

These references are implementation examples and do not change the platform-agnostic framework.